## Slide 1: Measurement of current consumption in a wireless sensor network TestBed
Didzis Lapsa, Rihards Balass, Janis Judvaitis, and Krisjanis Nesenbergs
Institute of Electronics and Computer Science
Dzērbenes iela 14, Rīga, Latvija
e-mail: didzis.lapsa@edi.lv

## Slide 2: Wireless Sensor Networks
Sensor nodes are measuring intensity of sunlight
Base station
( ( ( Wireless comunication ) ) )

## Slide 3: TestBed architecture design
Workstation
consists of router, TestBed adapter and sensor node
Power Over Ethernet (POE) splitter, sepatertes Power from Ethernet
Workstation is powered by power over ethernet.
Testbed adapter is implemented in the workstation

## Slide 4: TestBed adapter
TestBed adapter combines a primitive functionality of these facilities
Oscilloscope
Power supply
4.7 – 0.7V
Signal generator
Multimeter

## Slide 5: TestBed adapter
Allow to program DUT
Debug
Power consumption measurement
Communication between router and DUT
On-board data storage
Communication module
It has USB support. Allows to programm DUT
PWR module
Allows measure power consumtion and set output voltage
Signal conversion module
Proccesing and storing recaived data from DUT
Each module has it’s own Tiny MCU, wich can be programmed using Spy-Bi-Wire interface

## Slide 6: Current consumption module
Komunikācijas modulis
Power support
Current measurement
Batery discharge
Store data in SD card
Interrup capability
Individual operation mode
Adjustable voltage
MCU

## Slide 7: Battery discharge curve

## Slide 8: TB-adapter current measurement

## Slide 9: Current sense in TB-adapter
Block diagram representation of the current sensing principle
UART- USB

## Slide 10: Noise in TB-adapter
UART- USB
Block diagram representation of the current sensing principle

## Slide 11: Measurement improvements
Improvement 50% of
quality by adding noise
filters
Side effect is measutred
value drift
P(x)
x
Results before improvement
Results after improvement

## Slide 12: Data processing in TB-adapter
Data processing to reduce the noice.
Involves powerful system upgrades and more data saves in to RAM

## Slide 13: TestBed architecture design
Workstation
consists of router, TestBed adapter and sensor node
Power Over Ethernet (POE) splitter, sepatertes Power from Ethernet
Workstation is powered by power over ethernet.

## Slide 14: TestBed architecture design
40 workstations are placed across seven floars.
We have a working WSN architecture and we can access local network through internet, program, reprogram and test senssor nodes. Collect and process data.
We have plast 90 workstations acros 7 floors, but 10 are placed out of building. To imitate real-word environment.

## Slide 15
Thanks for Your attention.